# Using Power Supplies and Measuring Voltage Drop

Voltage Reading

Current Reading

Voltage Control (set = 0 before turning on)

Current Control (set = ½ max before turning on)

Using the Power Supply:

Step 1:  Set Voltage to Zero

Step 2:  Set current to ½ of maximum.

Step 3:  Turn on power supply.  Keep voltage at or below 6V.

Measuring Source Voltage and Current: See Power Supply Readout

Measure Voltage Drop by touching the two probes of the voltmeter to each terminal of the bulb holder.

Using the Multimeter for Individual Voltage Drops and continuity:

Set the Digital Multimeter (DMM) to measure DC voltage (solid line over dotted line).   To measure voltage drop across a resistor (bulb), touch the two probes to each terminal on the bulb holder.  This measures the potential difference between the two sides of the bulb.  Adjust the meter range until you get a reasonable reading (or ask the teacher what range has been working).

Do NOT use the DMM to measure current! You can use the voltage source for finding total current.  You must infer the current through each resistor (bulb).

Use the Continuity Tester (sound wave symbol) to check for burned out bulbs or broken alligator clip wires.  If it beeps, there is continuity (a continuous conductor between the two points), which means the bulb or wire should work.

About The Circuit Diagrams: The small circle at the top left end of the circuit represents the red (positive) terminal of the power source.  Each X represents a bulb (resistor).  The ground symbols (three dashes of diminishing length) represent connections to the black (negative) terminal on the power source.  The “A” represents the presence of the internal ammeter that is built in to the power source.

Important reminders about real vs theoretical circuits:

- Real wires have resistance.  This means they will take a little bit of the power (I2R) and a little bit of the voltage drop (in series).  Since R = ρL/A, longer wires have more resistance.  So, if your calculations are a little bit off, this may be why.

- Incandescent bulbs are non-ohmic.  This means their resistances vary depending on the amount of voltage they receive.  So, when you are collecting data, keep the voltage constant!

Directions:  Look at each circuit diagram, and create a simple sketch of how the actual circuit will look (with bulbs and a power source).  Then build the circuit.  Use the power source readout to determine the source current and voltage drop [**keep it at 6V or less].  Use this information to determine the total power dissipated by the circuit and the total circuit resistance.  Next use a multimeter to determine the voltage drop at each bulb (X symbol).  Use those voltage drops (and other clever tricks) to deduce the other values at each bulb.  Identify the circuit as parallel or series.

Warning: bulbs are non-ohmic.  Their resistances may be different at different voltages.  Do not expect the same bulb to always have the same resistance.  Furthermore, we may have different types of bulbs, and they may have different resistances.